{"text_format":"3","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":25,"n_cols":4,"rows_kept":25,"merged":[[1,0,1,3],[22,0,22,2],[23,0,23,2],[24,0,24,3],[26,0,26,3]],"flags":["formulas_cached_only"]}
[]
[" 附件1：学院路校区实训1楼内墙粉刷、地坪复新项目分项报价单"]
[null,"            内墙粉刷"]
["材料","规格型号","工程量","单价报价（元）"]
["内墙腻子粉","生态环保型","1平方"]
["内墙胶","901胶","1平方"]
["内墙乳胶漆","优质生态环保型","1平方"]
["灰补打磨材料","——","1平方"]
["室内保洁","门窗风扇灯管","吊扇10个、灯管39套","——（包含）"]
["走廊灯更换","品牌LED60*60cm\n60W集成顶灯","10盏","——（包含）"]
["人工粉刷",null,"1平方"]
["税费",null,"1平方"]
[null,null,"内墙粉刷报价"]
[null,"                      环氧地坪漆复新"]
["材料","规格型号","工程量","单价报价（元）"]
["环氧树脂","环保型","1平方"]
["石英砂","环保型","1平方"]
["石英粉","环保型","1平方"]
["灰补打磨材料","——","1平方"]
["环氧树脂漆","优质生态环保型","1平方"]
["人工费",null,"1平方"]
["税费",null,"1平方"]
["                             地坪漆复新报价"]
["项目报价"]
["注：项目报价=外墙粉刷报价*2200平方+宿舍粉刷（含保洁+走廊灯更换）报价*320平方"]

{"sheet":"Sheet2","index":1,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}