{"text_format":"3","workbook":"xlsx","n_sheets":2,"sheets":["报价单","报价明细表"],"read":"whole","date_system":"1900"}

{"sheet":"报价单","index":0,"n_rows":12,"n_cols":2,"rows_kept":12,"merged":[[4,0,5,0]]}
[]
[]
["项目名称","第二届山东省职业技能大赛污水处理项目泵站系统的拆装及运行模块耗材项目"]
["投标人"]
["投标总报价","大写：                "]
[null,"小写：                元"]
["投标质量","合格"]
["备注"]
[]
[null,"投标人：（盖章）"]
[null,"法定代表人或其委托代理人：（签字）"]
[null,"  年   月   日"]

{"sheet":"报价明细表","index":1,"n_rows":30,"n_cols":8,"rows_kept":30,"merged":[[0,0,0,7]]}
["附件：第二届山东省职业技能大赛污水处理项目泵站系统的拆装及运行模块耗材项目报价明细表"]
["序号","品名","技术参数","单位","单价（元）","数量","金额（元）","用途"]
[1,"金属软管","材质304，DN50、350mm、平口、带密封圈、外螺纹","个",null,8,null,"污水处理大赛"]
[2,"负压表","外螺纹、1/2、配引压管","个",null,20,null,"污水处理大赛"]
[3,"压力表","0-4公斤、外螺纹、1/2、配引压管","个",null,50,null,"污水处理大赛"]
[4,"磁翻板液位计","现场液位计、引出管之间距离700mm，引出管DN15、外螺纹，显示面板长度700mm。","个",null,8,null,"污水处理大赛"]
[5,"离心式水泵","IS50-32-125离心式清水泵，进出口法兰PN16，带底座和电机","台",null,6,null,"污水处理大赛"]
[6,"流量计","LZB-15玻璃转子流量计","台",null,10,null,"污水处理大赛"]
[7,"球阀","304不锈钢国标手动法兰式球阀Q41F-16P 25P 阀门 304普通型 DN50 PN16，RF","个",null,6,null,"污水处理大赛"]
[8,"球阀","304不锈钢国标手动法兰式球阀 304普通型 DN40 PN16，RF","个",null,10,null,"污水处理大赛"]
[9,"球阀","304内螺纹球阀DN15","个",null,40,null,"污水处理大赛"]
[10,"换热器螺栓","单头304、M8*50","套",null,100,null,"污水处理大赛"]
[11,"螺栓","双头304、M12*40","套",null,80,null,"污水处理大赛"]
[12,"螺栓","双头304、M12*45","套",null,80,null,"污水处理大赛"]
[13,"螺栓","单头304、M12*50","套",null,80,null,"污水处理大赛"]
[14,"螺栓","单头304、M12*60","套",null,40,null,"污水处理大赛"]
[15,"螺栓","双头304、M12*60","套",null,40,null,"污水处理大赛"]
[16,"螺栓","单头304、M10*60","套",null,80,null,"污水处理大赛"]
[17,"螺栓","单头304、M10*55","套",null,80,null,"污水处理大赛"]
[18,"螺栓","双头304、M10*60","套",null,80,null,"污水处理大赛"]
[19,"截止阀阀门","DN50、PN16、RF、304","个",null,10,null,"污水处理大赛"]
[20,"截止阀阀门","DN40、PN16、RF、304","个",null,10,null,"污水处理大赛"]
[21,"闸阀阀门","DN40、PN16、RF、304","个",null,6,null,"污水处理大赛"]
[22,"划规","专用圆规工业用钨钢合金大号铁划归木工机械划线神器画规 黑色长150mm","个",null,30,null,"污水处理大赛"]
[23,"直钢尺","不锈钢直尺铁尺加厚硬尺15/30/50cm高精钢板尺 【长度30cm","个",null,20,null,"污水处理大赛"]
[24,"安全阀","安全阀A27W-10T/16T储气罐泄压阀弹簧式螺纹微启式蒸汽压力阀 DN15(等级0.05-0.5) 整定0.3mpa","个",null,10,null,"污水处理大赛"]
[25,"仪表箱锁","MS402-16转舌锁 信箱锁 仪器表箱锁 工业柜锁机箱机柜锁 MS402-16亮铬","个",null,20,null,"污水处理大赛"]
[26,"电钻","手电钻正反转可调速大功率开孔电钻电动工具 J1Z-FF02-13标","个",null,1,null,"污水处理大赛"]
[27,"钻头","高硬度麻花钻头不锈钢合金钢铁高速钢打孔DLX-042【9.0mm】","个",null,2,null,"污水处理大赛"]
[null,null,"合计"]